## Home
Registration & Incident Selector
Pick a Country and a System below — the table auto-updates via formula lookups.
Country: | USA
System: | Trellis Forearm System
Matching catalog items for the selected System:
Catalog # | Description | Registration Name | Registration # | Approval Date | Expiration Date
TRL-110-1 | Screw, 2.4mm x 24mm, Trellis family | Trellis Forearm System - USA Registration | K109444 | 05/01/2019 | N/A
TRL-120-2 | Instrument, 2.4mm x 10mm, Trellis family | Trellis Forearm System - USA Registration | K158309 | 10/04/2017 | N/A
TRL-130-3 | Plate, 4.0mm x 20mm, Trellis family | Trellis Forearm System - USA Registration | K214309 | 14/02/2014 | N/A
TRL-140-4 | Plate, 2.7mm x 14mm, Trellis family | Trellis Forearm System - USA Registration | K184475 | 22/04/2021 | N/A
TRL-150-5 | Other, 2.4mm x 24mm, Trellis family | Trellis Forearm System - USA Registration | K101453 | 06/12/2015 | N/A
TRL-160-6 | Other, 4.5mm x 12mm, Trellis family | Trellis Forearm System - USA Registration | K174901 | 11/09/2017 | N/A
TRL-170-7 | Plate, 2.4mm x 16mm, Trellis family | Trellis Forearm System - USA Registration | K157812 | 14/08/2021 | N/A
TRL-180-8 | Plate, 3.5mm x 24mm, Trellis family | Trellis Forearm System - USA Registration | K166131 | 24/09/2015 | N/A
Open incidents (Under Investigation) for selected System: |  |  | 12

## Read Me
Mental Schematics — Multi-Country / Multi-System Registration & Incident Tracker
Sample company — Mental Schematics is not a real business.
All countries, systems, part numbers, registrations, and incidents below are fictional.
What this workbook demonstrates:
• A single maintained workbook standing in for what would otherwise be a spreadsheet
per country/system combination (here: 5 countries x 5 systems = 25 combinations).
• A Home sheet where you pick a Country and a System from dropdowns, and the relevant
catalog, registration, and incident data is pulled in automatically via formulas.
• A consistent maintenance procedure for adding a new country or a new system without
restructuring existing sheets (see 'Maintenance Procedure' tab).
Sheets:
Home - country/system selector + auto-populated summary
Master Catalog - every catalog item across all systems
PBS - which catalog items belong to which system
Country Registrations - registration record per catalog item, per country
Master RIL - full incident log across all systems
RIL - <System name> - per-system incident log (one tab per system)
Maintenance Procedure - the SOP for keeping this structure up to date
VBA Macro (optional) - importable macro code that reproduces the original
pop-up country/system selector, for use in Excel desktop

## Master Catalog
Item Category | Catalog # | Description | UDI Number | Part Drawing # | IFU # | Material | Sterile? | Active? | System | System Seq | Key (System¦Seq)
Implant Screw | TRL-110-1 | Screw, 2.4mm x 24mm, Trellis family | 008395310485 | DRW-42098-01 | IFU-4657-00 | CoCr Alloy | Y | Y | Trellis Forearm System | 1 | Trellis Forearm System¦1
Instrument | TRL-120-2 | Instrument, 2.4mm x 10mm, Trellis family | 008200604502 | DRW-38657-02 | IFU-4811-00 | Ti 6Al-4V ELI | Y | N | Trellis Forearm System | 2 | Trellis Forearm System¦2
Implant Plate | TRL-130-3 | Plate, 4.0mm x 20mm, Trellis family | 008398704996 | DRW-10851-03 | IFU-3615-00 | PEEK | N | Y | Trellis Forearm System | 3 | Trellis Forearm System¦3
Implant Plate | TRL-140-4 | Plate, 2.7mm x 14mm, Trellis family | 008209747451 | DRW-22156-04 | IFU-7224-00 | Ti 6Al-4V ELI | N | Y | Trellis Forearm System | 4 | Trellis Forearm System¦4
Implant Other | TRL-150-5 | Other, 2.4mm x 24mm, Trellis family | 008593303705 | DRW-80284-05 | IFU-3045-00 | PEEK | Y | Y | Trellis Forearm System | 5 | Trellis Forearm System¦5
Implant Other | TRL-160-6 | Other, 4.5mm x 12mm, Trellis family | 008856528252 | DRW-19116-06 | IFU-1750-00 | CoCr Alloy | N | Y | Trellis Forearm System | 6 | Trellis Forearm System¦6
Implant Plate | TRL-170-7 | Plate, 2.4mm x 16mm, Trellis family | 008398471886 | DRW-69429-07 | IFU-6977-00 | CoCr Alloy | N | Y | Trellis Forearm System | 7 | Trellis Forearm System¦7
Implant Plate | TRL-180-8 | Plate, 3.5mm x 24mm, Trellis family | 008833953718 | DRW-94939-08 | IFU-2169-00 | CoCr Alloy | Y | Y | Trellis Forearm System | 8 | Trellis Forearm System¦8
Instrument | VLX-110-1 | Instrument, 4.0mm x 14mm, Voltix family | 008787194506 | DRW-83000-01 | IFU-4598-00 | 316L Stainless | Y | Y | Voltix Plating System | 1 | Voltix Plating System¦1
Implant Screw | VLX-120-2 | Screw, 3.5mm x 16mm, Voltix family | 008387484583 | DRW-18675-02 | IFU-4456-00 | 316L Stainless | Y | N | Voltix Plating System | 2 | Voltix Plating System¦2
Instrument | VLX-130-3 | Instrument, 4.0mm x 12mm, Voltix family | 008384412919 | DRW-28301-03 | IFU-5040-00 | 316L Stainless | N | N | Voltix Plating System | 3 | Voltix Plating System¦3
Implant Other | VLX-140-4 | Other, 2.7mm x 12mm, Voltix family | 008647099690 | DRW-74686-04 | IFU-2489-00 | Ti 6Al-4V ELI | Y | Y | Voltix Plating System | 4 | Voltix Plating System¦4
Implant Plate | VLX-150-5 | Plate, 4.0mm x 20mm, Voltix family | 008168212356 | DRW-60432-05 | IFU-7252-00 | PEEK | N | Y | Voltix Plating System | 5 | Voltix Plating System¦5
Implant Screw | VLX-160-6 | Screw, 4.5mm x 14mm, Voltix family | 008925276600 | DRW-94012-06 | IFU-6573-00 | Ti 6Al-4V ELI | N | N | Voltix Plating System | 6 | Voltix Plating System¦6
Implant Plate | VLX-170-7 | Plate, 4.0mm x 10mm, Voltix family | 008875340444 | DRW-44522-07 | IFU-9201-00 | CoCr Alloy | Y | Y | Voltix Plating System | 7 | Voltix Plating System¦7
Implant Plate | VLX-180-8 | Plate, 2.7mm x 14mm, Voltix family | 008918739736 | DRW-31174-08 | IFU-9837-00 | Ti 6Al-4V ELI | N | N | Voltix Plating System | 8 | Voltix Plating System¦8
Implant Screw | ANX-110-1 | Screw, 2.4mm x 14mm, Anchorix family | 008992994062 | DRW-50306-01 | IFU-4923-00 | Ti 6Al-4V ELI | Y | Y | Anchorix Suture System | 1 | Anchorix Suture System¦1
Implant Screw | ANX-120-2 | Screw, 4.0mm x 10mm, Anchorix family | 008916690353 | DRW-79822-02 | IFU-3060-00 | CoCr Alloy | N | Y | Anchorix Suture System | 2 | Anchorix Suture System¦2
Implant Other | ANX-130-3 | Other, 4.5mm x 20mm, Anchorix family | 008554340903 | DRW-37760-03 | IFU-9835-00 | CoCr Alloy | N | N | Anchorix Suture System | 3 | Anchorix Suture System¦3
Implant Other | ANX-140-4 | Other, 4.0mm x 20mm, Anchorix family | 008584779555 | DRW-25860-04 | IFU-5061-00 | CoCr Alloy | Y | Y | Anchorix Suture System | 4 | Anchorix Suture System¦4
Implant Screw | ANX-150-5 | Screw, 4.5mm x 20mm, Anchorix family | 008347083812 | DRW-87128-05 | IFU-4608-00 | Ti 6Al-4V ELI | Y | Y | Anchorix Suture System | 5 | Anchorix Suture System¦5
Implant Plate | ANX-160-6 | Plate, 2.4mm x 10mm, Anchorix family | 008454794895 | DRW-19287-06 | IFU-9423-00 | CoCr Alloy | N | N | Anchorix Suture System | 6 | Anchorix Suture System¦6
Implant Plate | ANX-170-7 | Plate, 4.5mm x 12mm, Anchorix family | 008876693898 | DRW-84847-07 | IFU-8744-00 | CoCr Alloy | N | N | Anchorix Suture System | 7 | Anchorix Suture System¦7
Implant Plate | ANX-180-8 | Plate, 2.4mm x 10mm, Anchorix family | 008807577342 | DRW-66498-08 | IFU-6804-00 | PEEK | N | N | Anchorix Suture System | 8 | Anchorix Suture System¦8
Implant Screw | RAD-110-1 | Screw, 2.4mm x 10mm, Radiant family | 008532311310 | DRW-54473-01 | IFU-2790-00 | CoCr Alloy | Y | Y | Radiant Nail System | 1 | Radiant Nail System¦1
Instrument | RAD-120-2 | Instrument, 2.7mm x 16mm, Radiant family | 008297018781 | DRW-46509-02 | IFU-8579-00 | CoCr Alloy | Y | N | Radiant Nail System | 2 | Radiant Nail System¦2
Implant Screw | RAD-130-3 | Screw, 2.4mm x 24mm, Radiant family | 008680451872 | DRW-11934-03 | IFU-2528-00 | CoCr Alloy | Y | N | Radiant Nail System | 3 | Radiant Nail System¦3
Instrument | RAD-140-4 | Instrument, 4.0mm x 12mm, Radiant family | 008530613729 | DRW-17685-04 | IFU-3697-00 | PEEK | Y | N | Radiant Nail System | 4 | Radiant Nail System¦4
Implant Other | RAD-150-5 | Other, 4.0mm x 14mm, Radiant family | 008554200826 | DRW-82845-05 | IFU-8973-00 | CoCr Alloy | Y | Y | Radiant Nail System | 5 | Radiant Nail System¦5
Implant Plate | RAD-160-6 | Plate, 2.4mm x 20mm, Radiant family | 008889991777 | DRW-81066-06 | IFU-1998-00 | 316L Stainless | Y | Y | Radiant Nail System | 6 | Radiant Nail System¦6
Instrument | RAD-170-7 | Instrument, 4.5mm x 20mm, Radiant family | 008269042105 | DRW-17455-07 | IFU-9320-00 | Ti 6Al-4V ELI | Y | Y | Radiant Nail System | 7 | Radiant Nail System¦7
Implant Screw | RAD-180-8 | Screw, 2.7mm x 16mm, Radiant family | 008228727266 | DRW-84668-08 | IFU-5033-00 | Ti 6Al-4V ELI | Y | N | Radiant Nail System | 8 | Radiant Nail System¦8
Implant Other | CVD-110-1 | Other, 3.5mm x 12mm, Corvid family | 008819112790 | DRW-51180-01 | IFU-4910-00 | 316L Stainless | N | Y | Corvid Fragment System | 1 | Corvid Fragment System¦1
Implant Other | CVD-120-2 | Other, 4.0mm x 14mm, Corvid family | 008907308348 | DRW-19508-02 | IFU-1152-00 | PEEK | Y | Y | Corvid Fragment System | 2 | Corvid Fragment System¦2
Implant Plate | CVD-130-3 | Plate, 4.5mm x 14mm, Corvid family | 008242224154 | DRW-55745-03 | IFU-2127-00 | CoCr Alloy | N | Y | Corvid Fragment System | 3 | Corvid Fragment System¦3
Implant Plate | CVD-140-4 | Plate, 4.0mm x 20mm, Corvid family | 008855420240 | DRW-49651-04 | IFU-9666-00 | Ti 6Al-4V ELI | N | Y | Corvid Fragment System | 4 | Corvid Fragment System¦4
Implant Plate | CVD-150-5 | Plate, 3.5mm x 10mm, Corvid family | 008214929002 | DRW-82512-05 | IFU-3546-00 | 316L Stainless | N | Y | Corvid Fragment System | 5 | Corvid Fragment System¦5
Implant Other | CVD-160-6 | Other, 2.7mm x 24mm, Corvid family | 008781007818 | DRW-44600-06 | IFU-9280-00 | PEEK | N | Y | Corvid Fragment System | 6 | Corvid Fragment System¦6
Implant Screw | CVD-170-7 | Screw, 4.0mm x 14mm, Corvid family | 008147337803 | DRW-10464-07 | IFU-6464-00 | CoCr Alloy | N | Y | Corvid Fragment System | 7 | Corvid Fragment System¦7
Instrument | CVD-180-8 | Instrument, 4.5mm x 24mm, Corvid family | 008559225330 | DRW-83519-08 | IFU-1158-00 | Ti 6Al-4V ELI | Y | Y | Corvid Fragment System | 8 | Corvid Fragment System¦8

## PBS
Catalog # | Trellis Forearm System | Voltix Plating System | Anchorix Suture System | Radiant Nail System | Corvid Fragment System
TRL-110-1 | ✔
TRL-120-2 | ✔
TRL-130-3 | ✔
TRL-140-4 | ✔
TRL-150-5 | ✔
TRL-160-6 | ✔
TRL-170-7 | ✔
TRL-180-8 | ✔
VLX-110-1 |  | ✔
VLX-120-2 |  | ✔
VLX-130-3 |  | ✔
VLX-140-4 |  | ✔
VLX-150-5 |  | ✔
VLX-160-6 |  | ✔
VLX-170-7 |  | ✔
VLX-180-8 |  | ✔
ANX-110-1 |  |  | ✔
ANX-120-2 |  |  | ✔
ANX-130-3 |  |  | ✔
ANX-140-4 |  |  | ✔
ANX-150-5 |  |  | ✔
ANX-160-6 |  |  | ✔
ANX-170-7 |  |  | ✔
ANX-180-8 |  |  | ✔
RAD-110-1 |  |  |  | ✔
RAD-120-2 |  |  |  | ✔
RAD-130-3 |  |  |  | ✔
RAD-140-4 |  |  |  | ✔
RAD-150-5 |  |  |  | ✔
RAD-160-6 |  |  |  | ✔
RAD-170-7 |  |  |  | ✔
RAD-180-8 |  |  |  | ✔
CVD-110-1 |  |  |  |  | ✔
CVD-120-2 |  |  |  |  | ✔
CVD-130-3 |  |  |  |  | ✔
CVD-140-4 |  |  |  |  | ✔
CVD-150-5 |  |  |  |  | ✔
CVD-160-6 |  |  |  |  | ✔
CVD-170-7 |  |  |  |  | ✔
CVD-180-8 |  |  |  |  | ✔

## Country Registrations
Catalog # | Country | Country Class | Country Rule | Registration Name | Registration Number | Approval Date | Expiration Date | Key (Country¦Catalog#)
TRL-110-1 | USA | IIa | 7 | Trellis Forearm System - USA Registration | K109444 | 05/01/2019 | N/A | USA¦TRL-110-1
TRL-110-1 | Germany | I | 6 | Trellis Forearm System - Germany Registration | DE-CE-6050 | 07/11/2019 | 08/11/2024 | Germany¦TRL-110-1
TRL-110-1 | Brazil | III | 3 | Trellis Forearm System - Brazil Registration | ANVISA-23473 | 08/03/2019 | 26/03/2024 | Brazil¦TRL-110-1
TRL-110-1 | Japan | IIa | 6 | Trellis Forearm System - Japan Registration | PMDA-532322 | 26/07/2014 | 26/11/2019 | Japan¦TRL-110-1
TRL-110-1 | Australia | IIa | 2 | Trellis Forearm System - Australia Registration | ARTG-230111 | 13/01/2018 | 28/08/2023 | Australia¦TRL-110-1
TRL-120-2 | USA | III | 6 | Trellis Forearm System - USA Registration | K158309 | 10/04/2017 | N/A | USA¦TRL-120-2
TRL-120-2 | Germany | IIa | 7 | Trellis Forearm System - Germany Registration | DE-CE-4652 | 11/05/2014 | 28/02/2019 | Germany¦TRL-120-2
TRL-120-2 | Brazil | III | 6 | Trellis Forearm System - Brazil Registration | ANVISA-46585 | 01/02/2019 | 09/03/2024 | Brazil¦TRL-120-2
TRL-120-2 | Japan | I | 2 | Trellis Forearm System - Japan Registration | PMDA-708792 | 20/07/2018 | 12/12/2023 | Japan¦TRL-120-2
TRL-120-2 | Australia | I | 7 | Trellis Forearm System - Australia Registration | ARTG-264457 | 19/04/2020 | 09/01/2025 | Australia¦TRL-120-2
TRL-130-3 | USA | IIa | 6 | Trellis Forearm System - USA Registration | K214309 | 14/02/2014 | N/A | USA¦TRL-130-3
TRL-130-3 | Germany | IIb | 2 | Trellis Forearm System - Germany Registration | DE-CE-6409 | 24/05/2023 | 17/05/2028 | Germany¦TRL-130-3
TRL-130-3 | Brazil | IIb | 7 | Trellis Forearm System - Brazil Registration | ANVISA-97410 | 23/05/2020 | 18/03/2025 | Brazil¦TRL-130-3
TRL-130-3 | Japan | III | 3 | Trellis Forearm System - Japan Registration | PMDA-301158 | 20/10/2020 | 10/07/2025 | Japan¦TRL-130-3
TRL-130-3 | Australia | IIb | 5 | Trellis Forearm System - Australia Registration | ARTG-387276 | 07/07/2014 | 26/10/2019 | Australia¦TRL-130-3
TRL-140-4 | USA | III | 8 | Trellis Forearm System - USA Registration | K184475 | 22/04/2021 | N/A | USA¦TRL-140-4
TRL-140-4 | Germany | IIa | 2 | Trellis Forearm System - Germany Registration | DE-CE-9375 | 10/09/2021 | 22/11/2026 | Germany¦TRL-140-4
TRL-140-4 | Brazil | I | 4 | Trellis Forearm System - Brazil Registration | ANVISA-91167 | 22/05/2019 | 08/04/2024 | Brazil¦TRL-140-4
TRL-140-4 | Japan | I | 4 | Trellis Forearm System - Japan Registration | PMDA-254511 | 16/10/2014 | 28/02/2019 | Japan¦TRL-140-4
TRL-140-4 | Australia | IIa | 7 | Trellis Forearm System - Australia Registration | ARTG-338769 | 16/07/2020 | 08/03/2025 | Australia¦TRL-140-4
TRL-150-5 | USA | III | 4 | Trellis Forearm System - USA Registration | K101453 | 06/12/2015 | N/A | USA¦TRL-150-5
TRL-150-5 | Germany | I | 4 | Trellis Forearm System - Germany Registration | DE-CE-9486 | 28/02/2021 | 15/03/2026 | Germany¦TRL-150-5
TRL-150-5 | Brazil | IIb | 8 | Trellis Forearm System - Brazil Registration | ANVISA-70901 | 20/12/2022 | 17/07/2027 | Brazil¦TRL-150-5
TRL-150-5 | Japan | III | 3 | Trellis Forearm System - Japan Registration | PMDA-970914 | 24/08/2022 | 15/05/2027 | Japan¦TRL-150-5
TRL-150-5 | Australia | III | 4 | Trellis Forearm System - Australia Registration | ARTG-229624 | 09/08/2018 | 03/12/2023 | Australia¦TRL-150-5
TRL-160-6 | USA | IIb | 6 | Trellis Forearm System - USA Registration | K174901 | 11/09/2017 | N/A | USA¦TRL-160-6
TRL-160-6 | Germany | IIa | 4 | Trellis Forearm System - Germany Registration | DE-CE-2320 | 13/12/2016 | 05/12/2021 | Germany¦TRL-160-6
TRL-160-6 | Brazil | III | 7 | Trellis Forearm System - Brazil Registration | ANVISA-38043 | 11/09/2015 | 15/07/2020 | Brazil¦TRL-160-6
TRL-160-6 | Japan | III | 7 | Trellis Forearm System - Japan Registration | PMDA-165290 | 25/10/2017 | 23/01/2022 | Japan¦TRL-160-6
TRL-160-6 | Australia | I | 6 | Trellis Forearm System - Australia Registration | ARTG-299429 | 10/07/2021 | 28/07/2026 | Australia¦TRL-160-6
TRL-170-7 | USA | IIa | 5 | Trellis Forearm System - USA Registration | K157812 | 14/08/2021 | N/A | USA¦TRL-170-7
TRL-170-7 | Germany | IIb | 7 | Trellis Forearm System - Germany Registration | DE-CE-1475 | 24/03/2020 | 27/08/2025 | Germany¦TRL-170-7
TRL-170-7 | Brazil | I | 7 | Trellis Forearm System - Brazil Registration | ANVISA-26728 | 19/10/2023 | 22/01/2028 | Brazil¦TRL-170-7
TRL-170-7 | Japan | IIa | 8 | Trellis Forearm System - Japan Registration | PMDA-188025 | 06/01/2020 | 09/07/2025 | Japan¦TRL-170-7
TRL-170-7 | Australia | III | 6 | Trellis Forearm System - Australia Registration | ARTG-271627 | 11/07/2017 | 09/07/2022 | Australia¦TRL-170-7
TRL-180-8 | USA | III | 1 | Trellis Forearm System - USA Registration | K166131 | 24/09/2015 | N/A | USA¦TRL-180-8
TRL-180-8 | Germany | IIa | 2 | Trellis Forearm System - Germany Registration | DE-CE-1853 | 25/11/2019 | 02/01/2024 | Germany¦TRL-180-8
TRL-180-8 | Brazil | I | 3 | Trellis Forearm System - Brazil Registration | ANVISA-42411 | 08/03/2017 | 16/11/2022 | Brazil¦TRL-180-8
TRL-180-8 | Japan | IIa | 8 | Trellis Forearm System - Japan Registration | PMDA-219946 | 23/05/2023 | 25/06/2028 | Japan¦TRL-180-8
TRL-180-8 | Australia | I | 3 | Trellis Forearm System - Australia Registration | ARTG-187969 | 10/02/2023 | 19/01/2028 | Australia¦TRL-180-8
VLX-110-1 | USA | III | 7 | Voltix Plating System - USA Registration | K181777 | 23/04/2023 | N/A | USA¦VLX-110-1
VLX-110-1 | Germany | IIa | 2 | Voltix Plating System - Germany Registration | DE-CE-2245 | 23/05/2023 | 28/11/2028 | Germany¦VLX-110-1
VLX-110-1 | Brazil | I | 6 | Voltix Plating System - Brazil Registration | ANVISA-88697 | 18/07/2015 | 22/06/2020 | Brazil¦VLX-110-1
VLX-110-1 | Japan | IIb | 1 | Voltix Plating System - Japan Registration | PMDA-172306 | 28/07/2022 | 27/08/2027 | Japan¦VLX-110-1
VLX-110-1 | Australia | IIb | 8 | Voltix Plating System - Australia Registration | ARTG-155332 | 23/03/2020 | 14/03/2025 | Australia¦VLX-110-1
VLX-120-2 | USA | III | 8 | Voltix Plating System - USA Registration | K236772 | 14/12/2018 | N/A | USA¦VLX-120-2
VLX-120-2 | Germany | IIa | 2 | Voltix Plating System - Germany Registration | DE-CE-5397 | 09/08/2019 | 08/08/2024 | Germany¦VLX-120-2
VLX-120-2 | Brazil | III | 6 | Voltix Plating System - Brazil Registration | ANVISA-84691 | 01/08/2023 | 28/06/2028 | Brazil¦VLX-120-2
VLX-120-2 | Japan | IIa | 6 | Voltix Plating System - Japan Registration | PMDA-290672 | 26/05/2021 | 11/05/2026 | Japan¦VLX-120-2
VLX-120-2 | Australia | I | 4 | Voltix Plating System - Australia Registration | ARTG-244844 | 03/04/2022 | 24/07/2027 | Australia¦VLX-120-2
VLX-130-3 | USA | IIa | 8 | Voltix Plating System - USA Registration | K228077 | 21/12/2022 | N/A | USA¦VLX-130-3
VLX-130-3 | Germany | I | 2 | Voltix Plating System - Germany Registration | DE-CE-9041 | 10/04/2021 | 13/12/2026 | Germany¦VLX-130-3
VLX-130-3 | Brazil | IIb | 8 | Voltix Plating System - Brazil Registration | ANVISA-41890 | 18/09/2018 | 12/07/2023 | Brazil¦VLX-130-3
VLX-130-3 | Japan | IIb | 6 | Voltix Plating System - Japan Registration | PMDA-882169 | 23/08/2022 | 09/05/2027 | Japan¦VLX-130-3
VLX-130-3 | Australia | I | 4 | Voltix Plating System - Australia Registration | ARTG-231807 | 11/02/2017 | 24/09/2022 | Australia¦VLX-130-3
VLX-140-4 | USA | IIa | 8 | Voltix Plating System - USA Registration | K148535 | 09/12/2017 | N/A | USA¦VLX-140-4
VLX-140-4 | Germany | IIb | 2 | Voltix Plating System - Germany Registration | DE-CE-9595 | 27/04/2023 | 10/04/2028 | Germany¦VLX-140-4
VLX-140-4 | Brazil | IIb | 1 | Voltix Plating System - Brazil Registration | ANVISA-57301 | 23/09/2016 | 05/05/2021 | Brazil¦VLX-140-4
VLX-140-4 | Japan | IIb | 3 | Voltix Plating System - Japan Registration | PMDA-147726 | 21/08/2014 | 04/01/2019 | Japan¦VLX-140-4
VLX-140-4 | Australia | III | 8 | Voltix Plating System - Australia Registration | ARTG-249075 | 11/03/2021 | 02/05/2026 | Australia¦VLX-140-4
VLX-150-5 | USA | I | 7 | Voltix Plating System - USA Registration | K225233 | 16/02/2015 | N/A | USA¦VLX-150-5
VLX-150-5 | Germany | IIa | 5 | Voltix Plating System - Germany Registration | DE-CE-1878 | 03/04/2016 | 04/09/2021 | Germany¦VLX-150-5
VLX-150-5 | Brazil | IIa | 7 | Voltix Plating System - Brazil Registration | ANVISA-64548 | 15/08/2023 | 10/10/2028 | Brazil¦VLX-150-5
VLX-150-5 | Japan | I | 2 | Voltix Plating System - Japan Registration | PMDA-549660 | 25/04/2018 | 21/04/2023 | Japan¦VLX-150-5
VLX-150-5 | Australia | IIa | 4 | Voltix Plating System - Australia Registration | ARTG-238750 | 06/09/2015 | 03/03/2020 | Australia¦VLX-150-5
VLX-160-6 | USA | III | 8 | Voltix Plating System - USA Registration | K100701 | 10/01/2020 | N/A | USA¦VLX-160-6
VLX-160-6 | Germany | IIb | 8 | Voltix Plating System - Germany Registration | DE-CE-4792 | 03/11/2018 | 08/05/2023 | Germany¦VLX-160-6
VLX-160-6 | Brazil | IIa | 7 | Voltix Plating System - Brazil Registration | ANVISA-91927 | 04/09/2023 | 08/11/2028 | Brazil¦VLX-160-6
VLX-160-6 | Japan | IIa | 2 | Voltix Plating System - Japan Registration | PMDA-256226 | 02/03/2018 | 26/05/2023 | Japan¦VLX-160-6
VLX-160-6 | Australia | III | 2 | Voltix Plating System - Australia Registration | ARTG-398428 | 15/12/2018 | 10/12/2023 | Australia¦VLX-160-6
VLX-170-7 | USA | III | 8 | Voltix Plating System - USA Registration | K205515 | 03/10/2018 | N/A | USA¦VLX-170-7
VLX-170-7 | Germany | IIb | 5 | Voltix Plating System - Germany Registration | DE-CE-1653 | 01/02/2020 | 08/11/2025 | Germany¦VLX-170-7
VLX-170-7 | Brazil | I | 5 | Voltix Plating System - Brazil Registration | ANVISA-85392 | 19/01/2023 | 25/03/2028 | Brazil¦VLX-170-7
VLX-170-7 | Japan | III | 5 | Voltix Plating System - Japan Registration | PMDA-593355 | 06/10/2022 | 14/11/2027 | Japan¦VLX-170-7
VLX-170-7 | Australia | III | 6 | Voltix Plating System - Australia Registration | ARTG-357805 | 14/06/2015 | 11/11/2020 | Australia¦VLX-170-7
VLX-180-8 | USA | IIb | 7 | Voltix Plating System - USA Registration | K127420 | 23/08/2016 | N/A | USA¦VLX-180-8
VLX-180-8 | Germany | I | 8 | Voltix Plating System - Germany Registration | DE-CE-5722 | 03/06/2020 | 09/06/2025 | Germany¦VLX-180-8
VLX-180-8 | Brazil | I | 8 | Voltix Plating System - Brazil Registration | ANVISA-25194 | 14/01/2020 | 07/09/2025 | Brazil¦VLX-180-8
VLX-180-8 | Japan | III | 8 | Voltix Plating System - Japan Registration | PMDA-479353 | 25/01/2023 | 07/05/2028 | Japan¦VLX-180-8
VLX-180-8 | Australia | IIb | 8 | Voltix Plating System - Australia Registration | ARTG-387949 | 23/08/2016 | 04/01/2021 | Australia¦VLX-180-8
ANX-110-1 | USA | IIb | 1 | Anchorix Suture System - USA Registration | K162730 | 18/07/2016 | N/A | USA¦ANX-110-1
ANX-110-1 | Germany | I | 8 | Anchorix Suture System - Germany Registration | DE-CE-2527 | 04/11/2017 | 27/03/2022 | Germany¦ANX-110-1
ANX-110-1 | Brazil | IIb | 7 | Anchorix Suture System - Brazil Registration | ANVISA-75323 | 27/08/2018 | 16/04/2023 | Brazil¦ANX-110-1
ANX-110-1 | Japan | IIa | 7 | Anchorix Suture System - Japan Registration | PMDA-578975 | 07/10/2022 | 17/12/2027 | Japan¦ANX-110-1
ANX-110-1 | Australia | IIb | 7 | Anchorix Suture System - Australia Registration | ARTG-171569 | 11/09/2015 | 09/01/2020 | Australia¦ANX-110-1
ANX-120-2 | USA | III | 3 | Anchorix Suture System - USA Registration | K174144 | 15/09/2018 | N/A | USA¦ANX-120-2
ANX-120-2 | Germany | IIb | 7 | Anchorix Suture System - Germany Registration | DE-CE-8935 | 15/06/2019 | 28/04/2024 | Germany¦ANX-120-2
ANX-120-2 | Brazil | III | 4 | Anchorix Suture System - Brazil Registration | ANVISA-41300 | 28/07/2023 | 02/06/2028 | Brazil¦ANX-120-2
ANX-120-2 | Japan | III | 7 | Anchorix Suture System - Japan Registration | PMDA-880879 | 22/11/2021 | 05/08/2026 | Japan¦ANX-120-2
ANX-120-2 | Australia | IIb | 2 | Anchorix Suture System - Australia Registration | ARTG-119408 | 28/08/2016 | 04/09/2021 | Australia¦ANX-120-2
ANX-130-3 | USA | IIa | 7 | Anchorix Suture System - USA Registration | K219780 | 28/11/2014 | N/A | USA¦ANX-130-3
ANX-130-3 | Germany | III | 5 | Anchorix Suture System - Germany Registration | DE-CE-3529 | 11/10/2015 | 23/07/2020 | Germany¦ANX-130-3
ANX-130-3 | Brazil | IIb | 7 | Anchorix Suture System - Brazil Registration | ANVISA-95175 | 11/11/2015 | 23/08/2020 | Brazil¦ANX-130-3
ANX-130-3 | Japan | I | 4 | Anchorix Suture System - Japan Registration | PMDA-667296 | 21/11/2014 | 10/04/2019 | Japan¦ANX-130-3
ANX-130-3 | Australia | I | 2 | Anchorix Suture System - Australia Registration | ARTG-147384 | 15/03/2020 | 23/05/2025 | Australia¦ANX-130-3
ANX-140-4 | USA | IIb | 1 | Anchorix Suture System - USA Registration | K107588 | 10/06/2014 | N/A | USA¦ANX-140-4
ANX-140-4 | Germany | IIa | 4 | Anchorix Suture System - Germany Registration | DE-CE-7141 | 17/07/2020 | 19/11/2025 | Germany¦ANX-140-4
ANX-140-4 | Brazil | IIa | 2 | Anchorix Suture System - Brazil Registration | ANVISA-33600 | 20/07/2016 | 20/11/2021 | Brazil¦ANX-140-4
ANX-140-4 | Japan | IIa | 4 | Anchorix Suture System - Japan Registration | PMDA-352528 | 15/11/2021 | 09/08/2026 | Japan¦ANX-140-4
ANX-140-4 | Australia | III | 5 | Anchorix Suture System - Australia Registration | ARTG-233864 | 22/09/2014 | 06/02/2019 | Australia¦ANX-140-4
ANX-150-5 | USA | IIb | 7 | Anchorix Suture System - USA Registration | K215796 | 23/05/2019 | N/A | USA¦ANX-150-5
ANX-150-5 | Germany | IIa | 7 | Anchorix Suture System - Germany Registration | DE-CE-8484 | 28/08/2018 | 04/04/2023 | Germany¦ANX-150-5
ANX-150-5 | Brazil | IIb | 5 | Anchorix Suture System - Brazil Registration | ANVISA-59986 | 23/05/2023 | 01/11/2028 | Brazil¦ANX-150-5
ANX-150-5 | Japan | I | 1 | Anchorix Suture System - Japan Registration | PMDA-515032 | 20/12/2018 | 16/05/2023 | Japan¦ANX-150-5
ANX-150-5 | Australia | IIb | 4 | Anchorix Suture System - Australia Registration | ARTG-220648 | 21/04/2023 | 20/05/2028 | Australia¦ANX-150-5
ANX-160-6 | USA | I | 5 | Anchorix Suture System - USA Registration | K135855 | 26/08/2015 | N/A | USA¦ANX-160-6
ANX-160-6 | Germany | IIb | 3 | Anchorix Suture System - Germany Registration | DE-CE-1546 | 03/05/2023 | 11/12/2028 | Germany¦ANX-160-6
ANX-160-6 | Brazil | IIa | 3 | Anchorix Suture System - Brazil Registration | ANVISA-64460 | 26/09/2016 | 12/09/2021 | Brazil¦ANX-160-6
ANX-160-6 | Japan | IIa | 5 | Anchorix Suture System - Japan Registration | PMDA-626169 | 27/08/2018 | 26/05/2023 | Japan¦ANX-160-6
ANX-160-6 | Australia | III | 2 | Anchorix Suture System - Australia Registration | ARTG-277584 | 05/04/2015 | 28/11/2020 | Australia¦ANX-160-6
ANX-170-7 | USA | IIb | 2 | Anchorix Suture System - USA Registration | K204179 | 26/07/2022 | N/A | USA¦ANX-170-7
ANX-170-7 | Germany | I | 8 | Anchorix Suture System - Germany Registration | DE-CE-1228 | 12/11/2018 | 24/11/2023 | Germany¦ANX-170-7
ANX-170-7 | Brazil | III | 6 | Anchorix Suture System - Brazil Registration | ANVISA-44362 | 04/11/2023 | 08/08/2028 | Brazil¦ANX-170-7
ANX-170-7 | Japan | IIb | 4 | Anchorix Suture System - Japan Registration | PMDA-126240 | 21/02/2023 | 21/08/2028 | Japan¦ANX-170-7
ANX-170-7 | Australia | I | 3 | Anchorix Suture System - Australia Registration | ARTG-258434 | 02/01/2020 | 10/08/2025 | Australia¦ANX-170-7
ANX-180-8 | USA | IIa | 3 | Anchorix Suture System - USA Registration | K130440 | 13/08/2015 | N/A | USA¦ANX-180-8
ANX-180-8 | Germany | III | 3 | Anchorix Suture System - Germany Registration | DE-CE-7078 | 14/11/2022 | 04/08/2027 | Germany¦ANX-180-8
ANX-180-8 | Brazil | IIb | 1 | Anchorix Suture System - Brazil Registration | ANVISA-90694 | 23/06/2020 | 07/08/2025 | Brazil¦ANX-180-8
ANX-180-8 | Japan | IIb | 2 | Anchorix Suture System - Japan Registration | PMDA-566297 | 22/06/2017 | 18/11/2022 | Japan¦ANX-180-8
ANX-180-8 | Australia | III | 5 | Anchorix Suture System - Australia Registration | ARTG-288048 | 07/02/2014 | 28/08/2019 | Australia¦ANX-180-8
RAD-110-1 | USA | I | 1 | Radiant Nail System - USA Registration | K124031 | 26/06/2017 | N/A | USA¦RAD-110-1
RAD-110-1 | Germany | IIa | 2 | Radiant Nail System - Germany Registration | DE-CE-4990 | 27/09/2016 | 07/10/2021 | Germany¦RAD-110-1
RAD-110-1 | Brazil | IIb | 3 | Radiant Nail System - Brazil Registration | ANVISA-38305 | 26/10/2017 | 01/05/2022 | Brazil¦RAD-110-1
RAD-110-1 | Japan | IIb | 3 | Radiant Nail System - Japan Registration | PMDA-251716 | 04/11/2016 | 28/01/2021 | Japan¦RAD-110-1
RAD-110-1 | Australia | IIb | 4 | Radiant Nail System - Australia Registration | ARTG-169102 | 19/06/2014 | 01/03/2019 | Australia¦RAD-110-1
RAD-120-2 | USA | IIa | 7 | Radiant Nail System - USA Registration | K169564 | 17/02/2014 | N/A | USA¦RAD-120-2
RAD-120-2 | Germany | III | 6 | Radiant Nail System - Germany Registration | DE-CE-2041 | 17/10/2021 | 04/08/2026 | Germany¦RAD-120-2
RAD-120-2 | Brazil | I | 5 | Radiant Nail System - Brazil Registration | ANVISA-76039 | 15/11/2017 | 01/01/2022 | Brazil¦RAD-120-2
RAD-120-2 | Japan | III | 2 | Radiant Nail System - Japan Registration | PMDA-602248 | 16/12/2020 | 15/02/2025 | Japan¦RAD-120-2
RAD-120-2 | Australia | IIa | 2 | Radiant Nail System - Australia Registration | ARTG-142357 | 05/05/2019 | 20/11/2024 | Australia¦RAD-120-2
RAD-130-3 | USA | IIb | 8 | Radiant Nail System - USA Registration | K185245 | 17/10/2020 | N/A | USA¦RAD-130-3
RAD-130-3 | Germany | I | 4 | Radiant Nail System - Germany Registration | DE-CE-8048 | 14/08/2015 | 08/07/2020 | Germany¦RAD-130-3
RAD-130-3 | Brazil | III | 7 | Radiant Nail System - Brazil Registration | ANVISA-54424 | 24/02/2021 | 11/07/2026 | Brazil¦RAD-130-3
RAD-130-3 | Japan | IIb | 3 | Radiant Nail System - Japan Registration | PMDA-427704 | 22/08/2018 | 03/02/2023 | Japan¦RAD-130-3
RAD-130-3 | Australia | III | 2 | Radiant Nail System - Australia Registration | ARTG-144755 | 24/12/2015 | 12/03/2020 | Australia¦RAD-130-3
RAD-140-4 | USA | IIb | 2 | Radiant Nail System - USA Registration | K115723 | 14/06/2023 | N/A | USA¦RAD-140-4
RAD-140-4 | Germany | IIb | 5 | Radiant Nail System - Germany Registration | DE-CE-7929 | 12/02/2014 | 19/09/2019 | Germany¦RAD-140-4
RAD-140-4 | Brazil | III | 4 | Radiant Nail System - Brazil Registration | ANVISA-37884 | 28/02/2016 | 12/09/2021 | Brazil¦RAD-140-4
RAD-140-4 | Japan | IIb | 4 | Radiant Nail System - Japan Registration | PMDA-485415 | 26/07/2015 | 28/09/2020 | Japan¦RAD-140-4
RAD-140-4 | Australia | IIb | 1 | Radiant Nail System - Australia Registration | ARTG-391891 | 06/05/2014 | 23/05/2019 | Australia¦RAD-140-4
RAD-150-5 | USA | I | 3 | Radiant Nail System - USA Registration | K189082 | 28/03/2019 | N/A | USA¦RAD-150-5
RAD-150-5 | Germany | IIa | 1 | Radiant Nail System - Germany Registration | DE-CE-7566 | 03/12/2015 | 17/04/2020 | Germany¦RAD-150-5
RAD-150-5 | Brazil | III | 6 | Radiant Nail System - Brazil Registration | ANVISA-59308 | 06/06/2020 | 10/12/2025 | Brazil¦RAD-150-5
RAD-150-5 | Japan | I | 1 | Radiant Nail System - Japan Registration | PMDA-440140 | 05/03/2023 | 25/10/2028 | Japan¦RAD-150-5
RAD-150-5 | Australia | IIb | 8 | Radiant Nail System - Australia Registration | ARTG-126089 | 22/07/2015 | 16/10/2020 | Australia¦RAD-150-5
RAD-160-6 | USA | IIb | 4 | Radiant Nail System - USA Registration | K215879 | 25/09/2020 | N/A | USA¦RAD-160-6
RAD-160-6 | Germany | III | 2 | Radiant Nail System - Germany Registration | DE-CE-2864 | 10/11/2019 | 22/10/2024 | Germany¦RAD-160-6
RAD-160-6 | Brazil | IIb | 1 | Radiant Nail System - Brazil Registration | ANVISA-73783 | 08/07/2022 | 20/01/2027 | Brazil¦RAD-160-6
RAD-160-6 | Japan | IIb | 4 | Radiant Nail System - Japan Registration | PMDA-108060 | 25/03/2017 | 25/05/2022 | Japan¦RAD-160-6
RAD-160-6 | Australia | I | 1 | Radiant Nail System - Australia Registration | ARTG-251753 | 16/12/2019 | 14/03/2024 | Australia¦RAD-160-6
RAD-170-7 | USA | IIa | 6 | Radiant Nail System - USA Registration | K133865 | 03/07/2020 | N/A | USA¦RAD-170-7
RAD-170-7 | Germany | I | 8 | Radiant Nail System - Germany Registration | DE-CE-1693 | 03/06/2020 | 19/07/2025 | Germany¦RAD-170-7
RAD-170-7 | Brazil | III | 5 | Radiant Nail System - Brazil Registration | ANVISA-85156 | 04/07/2020 | 01/06/2025 | Brazil¦RAD-170-7
RAD-170-7 | Japan | III | 6 | Radiant Nail System - Japan Registration | PMDA-280222 | 03/07/2023 | 28/02/2028 | Japan¦RAD-170-7
RAD-170-7 | Australia | III | 2 | Radiant Nail System - Australia Registration | ARTG-227567 | 13/05/2020 | 24/06/2025 | Australia¦RAD-170-7
RAD-180-8 | USA | IIa | 2 | Radiant Nail System - USA Registration | K158083 | 17/11/2019 | N/A | USA¦RAD-180-8
RAD-180-8 | Germany | IIa | 6 | Radiant Nail System - Germany Registration | DE-CE-2868 | 12/12/2022 | 27/11/2027 | Germany¦RAD-180-8
RAD-180-8 | Brazil | I | 3 | Radiant Nail System - Brazil Registration | ANVISA-29358 | 09/04/2017 | 06/10/2022 | Brazil¦RAD-180-8
RAD-180-8 | Japan | IIa | 8 | Radiant Nail System - Japan Registration | PMDA-260295 | 15/10/2015 | 25/10/2020 | Japan¦RAD-180-8
RAD-180-8 | Australia | IIb | 6 | Radiant Nail System - Australia Registration | ARTG-335355 | 05/08/2023 | 03/08/2028 | Australia¦RAD-180-8
CVD-110-1 | USA | IIb | 1 | Corvid Fragment System - USA Registration | K215922 | 12/09/2018 | N/A | USA¦CVD-110-1
CVD-110-1 | Germany | III | 8 | Corvid Fragment System - Germany Registration | DE-CE-2215 | 02/01/2018 | 12/05/2023 | Germany¦CVD-110-1
CVD-110-1 | Brazil | III | 8 | Corvid Fragment System - Brazil Registration | ANVISA-20057 | 19/09/2015 | 26/12/2020 | Brazil¦CVD-110-1
CVD-110-1 | Japan | IIa | 6 | Corvid Fragment System - Japan Registration | PMDA-143015 | 20/08/2021 | 17/03/2026 | Japan¦CVD-110-1
CVD-110-1 | Australia | I | 6 | Corvid Fragment System - Australia Registration | ARTG-132439 | 23/02/2021 | 17/11/2026 | Australia¦CVD-110-1
CVD-120-2 | USA | IIa | 8 | Corvid Fragment System - USA Registration | K145235 | 15/09/2014 | N/A | USA¦CVD-120-2
CVD-120-2 | Germany | IIa | 6 | Corvid Fragment System - Germany Registration | DE-CE-9564 | 12/05/2023 | 13/07/2028 | Germany¦CVD-120-2
CVD-120-2 | Brazil | I | 6 | Corvid Fragment System - Brazil Registration | ANVISA-54350 | 03/06/2023 | 04/09/2028 | Brazil¦CVD-120-2
CVD-120-2 | Japan | IIb | 5 | Corvid Fragment System - Japan Registration | PMDA-811332 | 24/11/2020 | 20/03/2025 | Japan¦CVD-120-2
CVD-120-2 | Australia | IIa | 6 | Corvid Fragment System - Australia Registration | ARTG-274777 | 10/11/2015 | 23/11/2020 | Australia¦CVD-120-2
CVD-130-3 | USA | I | 5 | Corvid Fragment System - USA Registration | K202749 | 18/07/2016 | N/A | USA¦CVD-130-3
CVD-130-3 | Germany | I | 7 | Corvid Fragment System - Germany Registration | DE-CE-6381 | 17/06/2016 | 01/06/2021 | Germany¦CVD-130-3
CVD-130-3 | Brazil | IIa | 6 | Corvid Fragment System - Brazil Registration | ANVISA-50483 | 25/08/2016 | 07/04/2021 | Brazil¦CVD-130-3
CVD-130-3 | Japan | I | 5 | Corvid Fragment System - Japan Registration | PMDA-244247 | 28/02/2016 | 17/09/2021 | Japan¦CVD-130-3
CVD-130-3 | Australia | IIb | 3 | Corvid Fragment System - Australia Registration | ARTG-376054 | 20/07/2014 | 05/03/2019 | Australia¦CVD-130-3
CVD-140-4 | USA | IIa | 8 | Corvid Fragment System - USA Registration | K147407 | 02/07/2023 | N/A | USA¦CVD-140-4
CVD-140-4 | Germany | III | 5 | Corvid Fragment System - Germany Registration | DE-CE-6968 | 25/12/2017 | 26/08/2022 | Germany¦CVD-140-4
CVD-140-4 | Brazil | IIa | 5 | Corvid Fragment System - Brazil Registration | ANVISA-40671 | 26/08/2022 | 27/04/2027 | Brazil¦CVD-140-4
CVD-140-4 | Japan | III | 8 | Corvid Fragment System - Japan Registration | PMDA-485709 | 25/05/2023 | 25/07/2028 | Japan¦CVD-140-4
CVD-140-4 | Australia | III | 3 | Corvid Fragment System - Australia Registration | ARTG-363667 | 27/04/2022 | 26/10/2027 | Australia¦CVD-140-4
CVD-150-5 | USA | I | 8 | Corvid Fragment System - USA Registration | K136280 | 28/06/2018 | N/A | USA¦CVD-150-5
CVD-150-5 | Germany | I | 5 | Corvid Fragment System - Germany Registration | DE-CE-2680 | 03/03/2022 | 09/08/2027 | Germany¦CVD-150-5
CVD-150-5 | Brazil | III | 2 | Corvid Fragment System - Brazil Registration | ANVISA-77286 | 08/08/2016 | 12/01/2021 | Brazil¦CVD-150-5
CVD-150-5 | Japan | III | 6 | Corvid Fragment System - Japan Registration | PMDA-535050 | 08/07/2014 | 03/06/2019 | Japan¦CVD-150-5
CVD-150-5 | Australia | IIb | 2 | Corvid Fragment System - Australia Registration | ARTG-217722 | 27/12/2014 | 21/06/2019 | Australia¦CVD-150-5
CVD-160-6 | USA | I | 5 | Corvid Fragment System - USA Registration | K138285 | 27/08/2016 | N/A | USA¦CVD-160-6
CVD-160-6 | Germany | III | 1 | Corvid Fragment System - Germany Registration | DE-CE-3273 | 03/01/2021 | 09/04/2026 | Germany¦CVD-160-6
CVD-160-6 | Brazil | III | 2 | Corvid Fragment System - Brazil Registration | ANVISA-29597 | 25/05/2022 | 08/05/2027 | Brazil¦CVD-160-6
CVD-160-6 | Japan | IIa | 7 | Corvid Fragment System - Japan Registration | PMDA-227767 | 21/10/2014 | 15/02/2019 | Japan¦CVD-160-6
CVD-160-6 | Australia | I | 4 | Corvid Fragment System - Australia Registration | ARTG-158121 | 23/03/2021 | 10/07/2026 | Australia¦CVD-160-6
CVD-170-7 | USA | IIb | 4 | Corvid Fragment System - USA Registration | K100410 | 19/07/2023 | N/A | USA¦CVD-170-7
CVD-170-7 | Germany | IIb | 2 | Corvid Fragment System - Germany Registration | DE-CE-4068 | 17/09/2015 | 17/09/2020 | Germany¦CVD-170-7
CVD-170-7 | Brazil | III | 8 | Corvid Fragment System - Brazil Registration | ANVISA-82633 | 02/11/2014 | 13/06/2019 | Brazil¦CVD-170-7
CVD-170-7 | Japan | IIb | 2 | Corvid Fragment System - Japan Registration | PMDA-365971 | 12/04/2014 | 24/11/2019 | Japan¦CVD-170-7
CVD-170-7 | Australia | IIb | 3 | Corvid Fragment System - Australia Registration | ARTG-154349 | 02/06/2023 | 18/06/2028 | Australia¦CVD-170-7
CVD-180-8 | USA | III | 3 | Corvid Fragment System - USA Registration | K145898 | 26/03/2021 | N/A | USA¦CVD-180-8
CVD-180-8 | Germany | I | 5 | Corvid Fragment System - Germany Registration | DE-CE-2033 | 07/01/2021 | 26/04/2026 | Germany¦CVD-180-8
CVD-180-8 | Brazil | IIb | 7 | Corvid Fragment System - Brazil Registration | ANVISA-15492 | 27/09/2019 | 16/05/2024 | Brazil¦CVD-180-8
CVD-180-8 | Japan | IIb | 6 | Corvid Fragment System - Japan Registration | PMDA-138399 | 28/01/2017 | 28/11/2022 | Japan¦CVD-180-8
CVD-180-8 | Australia | I | 6 | Corvid Fragment System - Australia Registration | ARTG-274024 | 14/07/2018 | 24/08/2023 | Australia¦CVD-180-8

## Master RIL
Incident ID | Catalog # | System | Date Reported | Incident Type | Severity | Corrective Action | Status
INC-1001 | TRL-110-1 | Trellis Forearm System | 06/08/2023 | Sterility indicator failure | Medium | Root cause traced to packaging vendor, spec updated | Under Investigation
INC-1002 | TRL-110-1 | Trellis Forearm System | 24/07/2021 | Bent on delivery | Medium | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1003 | TRL-110-1 | Trellis Forearm System | 10/06/2025 | Bent on delivery | Low | Root cause traced to packaging vendor, spec updated | Under Investigation
INC-1004 | TRL-110-1 | Trellis Forearm System | 15/10/2023 | Sterility indicator failure | Medium | Unit replaced under warranty, no trend identified | Closed - Replaced Unit
INC-1005 | TRL-110-1 | Trellis Forearm System | 15/01/2023 | Sterility indicator failure | Medium | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1006 | TRL-120-2 | Trellis Forearm System | 26/01/2026 | Bent on delivery | High | No corrective action required, isolated event | Under Investigation
INC-1007 | TRL-120-2 | Trellis Forearm System | 26/12/2025 | Sterility indicator failure | Low | Vendor notified, incoming inspection tightened | Closed - CAPA Issued
INC-1008 | TRL-120-2 | Trellis Forearm System | 22/08/2025 | Bent on delivery | Low | Vendor notified, incoming inspection tightened | Closed - CAPA Issued
INC-1009 | TRL-120-2 | Trellis Forearm System | 12/06/2026 | Surface finish nonconformance | High | Vendor notified, incoming inspection tightened | Closed - CAPA Issued
INC-1010 | TRL-130-3 | Trellis Forearm System | 12/08/2023 | Bent on delivery | High | Unit replaced under warranty, no trend identified | Under Investigation
INC-1011 | TRL-130-3 | Trellis Forearm System | 11/11/2024 | Labeling discrepancy | Low | Vendor notified, incoming inspection tightened | Closed - No Action
INC-1012 | TRL-130-3 | Trellis Forearm System | 06/08/2026 | Dimensional out of spec | Medium | CAPA opened, in-process inspection added | Closed - No Action
INC-1013 | TRL-130-3 | Trellis Forearm System | 25/05/2023 | Sterility indicator failure | Medium | Unit replaced under warranty, no trend identified | Under Investigation
INC-1014 | TRL-130-3 | Trellis Forearm System | 16/04/2026 | Bent on delivery | Low | Vendor notified, incoming inspection tightened | Closed - Replaced Unit
INC-1015 | TRL-140-4 | Trellis Forearm System | 15/02/2026 | Sterility indicator failure | Medium | Root cause traced to packaging vendor, spec updated | Closed - No Action
INC-1016 | TRL-140-4 | Trellis Forearm System | 18/05/2025 | Labeling discrepancy | Low | Unit replaced under warranty, no trend identified | Under Investigation
INC-1017 | TRL-140-4 | Trellis Forearm System | 08/02/2025 | Packaging breach | Low | Unit replaced under warranty, no trend identified | Closed - Replaced Unit
INC-1018 | TRL-150-5 | Trellis Forearm System | 18/10/2023 | Labeling discrepancy | Medium | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1019 | TRL-150-5 | Trellis Forearm System | 03/02/2025 | Labeling discrepancy | Medium | No corrective action required, isolated event | Closed - Replaced Unit
INC-1020 | TRL-160-6 | Trellis Forearm System | 03/03/2025 | Labeling discrepancy | High | Vendor notified, incoming inspection tightened | Closed - Replaced Unit
INC-1021 | TRL-160-6 | Trellis Forearm System | 22/09/2024 | Labeling discrepancy | Low | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1022 | TRL-160-6 | Trellis Forearm System | 14/09/2022 | Bent on delivery | Low | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1023 | TRL-160-6 | Trellis Forearm System | 06/03/2023 | Labeling discrepancy | High | Unit replaced under warranty, no trend identified | Under Investigation
INC-1024 | TRL-160-6 | Trellis Forearm System | 10/02/2025 | Labeling discrepancy | Low | CAPA opened, in-process inspection added | Under Investigation
INC-1025 | TRL-170-7 | Trellis Forearm System | 10/10/2026 | Dimensional out of spec | Low | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1026 | TRL-170-7 | Trellis Forearm System | 19/03/2025 | Packaging breach | High | CAPA opened, in-process inspection added | Under Investigation
INC-1027 | TRL-170-7 | Trellis Forearm System | 02/01/2025 | Bent on delivery | Low | CAPA opened, in-process inspection added | Under Investigation
INC-1028 | TRL-180-8 | Trellis Forearm System | 14/10/2025 | Sterility indicator failure | Low | No corrective action required, isolated event | Under Investigation
INC-1029 | TRL-180-8 | Trellis Forearm System | 10/08/2026 | Packaging breach | High | No corrective action required, isolated event | Under Investigation
INC-1030 | TRL-180-8 | Trellis Forearm System | 03/12/2024 | Bent on delivery | Low | No corrective action required, isolated event | Closed - Replaced Unit
INC-1031 | VLX-110-1 | Voltix Plating System | 07/06/2024 | Dimensional out of spec | Low | Root cause traced to packaging vendor, spec updated | Under Investigation
INC-1032 | VLX-110-1 | Voltix Plating System | 28/06/2026 | Surface finish nonconformance | Low | Root cause traced to packaging vendor, spec updated | Closed - No Action
INC-1033 | VLX-110-1 | Voltix Plating System | 08/08/2023 | Bent on delivery | Medium | No corrective action required, isolated event | Closed - CAPA Issued
INC-1034 | VLX-110-1 | Voltix Plating System | 04/01/2022 | Labeling discrepancy | Medium | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1035 | VLX-110-1 | Voltix Plating System | 28/03/2022 | Labeling discrepancy | High | Root cause traced to packaging vendor, spec updated | Closed - CAPA Issued
INC-1036 | VLX-120-2 | Voltix Plating System | 17/08/2024 | Surface finish nonconformance | Medium | No corrective action required, isolated event | Closed - No Action
INC-1037 | VLX-120-2 | Voltix Plating System | 13/09/2021 | Surface finish nonconformance | Low | Unit replaced under warranty, no trend identified | Under Investigation
INC-1038 | VLX-120-2 | Voltix Plating System | 02/05/2021 | Surface finish nonconformance | High | No corrective action required, isolated event | Under Investigation
INC-1039 | VLX-130-3 | Voltix Plating System | 14/03/2021 | Labeling discrepancy | High | Root cause traced to packaging vendor, spec updated | Closed - Replaced Unit
INC-1040 | VLX-130-3 | Voltix Plating System | 02/07/2023 | Bent on delivery | High | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1041 | VLX-140-4 | Voltix Plating System | 10/02/2025 | Surface finish nonconformance | High | No corrective action required, isolated event | Under Investigation
INC-1042 | VLX-140-4 | Voltix Plating System | 22/10/2025 | Bent on delivery | Low | Vendor notified, incoming inspection tightened | Closed - Replaced Unit
INC-1043 | VLX-140-4 | Voltix Plating System | 26/06/2023 | Dimensional out of spec | Medium | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1044 | VLX-140-4 | Voltix Plating System | 17/07/2025 | Dimensional out of spec | Low | Vendor notified, incoming inspection tightened | Closed - No Action
INC-1045 | VLX-150-5 | Voltix Plating System | 11/08/2026 | Dimensional out of spec | Medium | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1046 | VLX-150-5 | Voltix Plating System | 20/06/2023 | Packaging breach | Medium | CAPA opened, in-process inspection added | Under Investigation
INC-1047 | VLX-150-5 | Voltix Plating System | 11/09/2025 | Dimensional out of spec | High | No corrective action required, isolated event | Under Investigation
INC-1048 | VLX-160-6 | Voltix Plating System | 12/06/2021 | Sterility indicator failure | Low | No corrective action required, isolated event | Under Investigation
INC-1049 | VLX-160-6 | Voltix Plating System | 28/12/2026 | Sterility indicator failure | Low | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1050 | VLX-160-6 | Voltix Plating System | 21/10/2023 | Dimensional out of spec | Low | Vendor notified, incoming inspection tightened | Closed - Replaced Unit
INC-1051 | VLX-160-6 | Voltix Plating System | 17/11/2022 | Sterility indicator failure | High | No corrective action required, isolated event | Closed - CAPA Issued
INC-1052 | VLX-160-6 | Voltix Plating System | 08/01/2026 | Dimensional out of spec | High | Vendor notified, incoming inspection tightened | Closed - CAPA Issued
INC-1053 | VLX-170-7 | Voltix Plating System | 11/07/2024 | Packaging breach | Medium | Unit replaced under warranty, no trend identified | Closed - Replaced Unit
INC-1054 | VLX-170-7 | Voltix Plating System | 25/10/2025 | Surface finish nonconformance | High | Vendor notified, incoming inspection tightened | Closed - CAPA Issued
INC-1055 | VLX-180-8 | Voltix Plating System | 11/11/2025 | Surface finish nonconformance | High | No corrective action required, isolated event | Under Investigation
INC-1056 | VLX-180-8 | Voltix Plating System | 15/09/2022 | Labeling discrepancy | High | Root cause traced to packaging vendor, spec updated | Under Investigation
INC-1057 | VLX-180-8 | Voltix Plating System | 16/04/2025 | Packaging breach | Medium | CAPA opened, in-process inspection added | Under Investigation
INC-1058 | ANX-110-1 | Anchorix Suture System | 25/05/2023 | Sterility indicator failure | Low | No corrective action required, isolated event | Under Investigation
INC-1059 | ANX-110-1 | Anchorix Suture System | 12/09/2024 | Sterility indicator failure | Medium | Root cause traced to packaging vendor, spec updated | Closed - No Action
INC-1060 | ANX-110-1 | Anchorix Suture System | 22/09/2025 | Surface finish nonconformance | Medium | Root cause traced to packaging vendor, spec updated | Closed - CAPA Issued
INC-1061 | ANX-120-2 | Anchorix Suture System | 10/12/2021 | Bent on delivery | Medium | No corrective action required, isolated event | Under Investigation
INC-1062 | ANX-120-2 | Anchorix Suture System | 16/04/2026 | Packaging breach | High | Root cause traced to packaging vendor, spec updated | Under Investigation
INC-1063 | ANX-120-2 | Anchorix Suture System | 04/10/2022 | Sterility indicator failure | High | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1064 | ANX-120-2 | Anchorix Suture System | 22/09/2021 | Packaging breach | High | Unit replaced under warranty, no trend identified | Closed - No Action
INC-1065 | ANX-130-3 | Anchorix Suture System | 11/12/2024 | Surface finish nonconformance | Low | Unit replaced under warranty, no trend identified | Closed - No Action
INC-1066 | ANX-130-3 | Anchorix Suture System | 06/07/2025 | Sterility indicator failure | Medium | No corrective action required, isolated event | Closed - CAPA Issued
INC-1067 | ANX-140-4 | Anchorix Suture System | 10/11/2023 | Bent on delivery | Low | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1068 | ANX-140-4 | Anchorix Suture System | 24/12/2025 | Bent on delivery | Low | No corrective action required, isolated event | Closed - CAPA Issued
INC-1069 | ANX-140-4 | Anchorix Suture System | 27/07/2021 | Surface finish nonconformance | Low | Root cause traced to packaging vendor, spec updated | Closed - No Action
INC-1070 | ANX-140-4 | Anchorix Suture System | 10/10/2021 | Dimensional out of spec | Low | Root cause traced to packaging vendor, spec updated | Under Investigation
INC-1071 | ANX-150-5 | Anchorix Suture System | 18/09/2026 | Surface finish nonconformance | Low | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1072 | ANX-150-5 | Anchorix Suture System | 07/02/2023 | Labeling discrepancy | Low | No corrective action required, isolated event | Under Investigation
INC-1073 | ANX-150-5 | Anchorix Suture System | 06/01/2026 | Sterility indicator failure | Medium | Root cause traced to packaging vendor, spec updated | Closed - CAPA Issued
INC-1074 | ANX-150-5 | Anchorix Suture System | 20/11/2022 | Surface finish nonconformance | Medium | CAPA opened, in-process inspection added | Under Investigation
INC-1075 | ANX-150-5 | Anchorix Suture System | 13/11/2021 | Bent on delivery | Low | Unit replaced under warranty, no trend identified | Closed - Replaced Unit
INC-1076 | ANX-160-6 | Anchorix Suture System | 01/05/2022 | Surface finish nonconformance | Low | No corrective action required, isolated event | Under Investigation
INC-1077 | ANX-160-6 | Anchorix Suture System | 10/10/2023 | Sterility indicator failure | High | Vendor notified, incoming inspection tightened | Under Investigation
INC-1078 | ANX-160-6 | Anchorix Suture System | 12/12/2026 | Packaging breach | Low | Vendor notified, incoming inspection tightened | Closed - Replaced Unit
INC-1079 | ANX-160-6 | Anchorix Suture System | 06/07/2023 | Sterility indicator failure | High | Root cause traced to packaging vendor, spec updated | Closed - No Action
INC-1080 | ANX-170-7 | Anchorix Suture System | 20/04/2023 | Packaging breach | Low | No corrective action required, isolated event | Closed - CAPA Issued
INC-1081 | ANX-170-7 | Anchorix Suture System | 24/10/2024 | Labeling discrepancy | Medium | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1082 | ANX-170-7 | Anchorix Suture System | 26/11/2025 | Packaging breach | Low | CAPA opened, in-process inspection added | Closed - No Action
INC-1083 | ANX-170-7 | Anchorix Suture System | 15/09/2025 | Sterility indicator failure | Medium | Vendor notified, incoming inspection tightened | Closed - No Action
INC-1084 | ANX-180-8 | Anchorix Suture System | 17/04/2025 | Dimensional out of spec | High | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1085 | ANX-180-8 | Anchorix Suture System | 28/09/2023 | Surface finish nonconformance | Low | Unit replaced under warranty, no trend identified | Closed - Replaced Unit
INC-1086 | RAD-110-1 | Radiant Nail System | 15/01/2025 | Surface finish nonconformance | Low | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1087 | RAD-110-1 | Radiant Nail System | 19/01/2024 | Dimensional out of spec | Medium | Root cause traced to packaging vendor, spec updated | Closed - No Action
INC-1088 | RAD-120-2 | Radiant Nail System | 27/01/2023 | Sterility indicator failure | Low | CAPA opened, in-process inspection added | Closed - No Action
INC-1089 | RAD-120-2 | Radiant Nail System | 14/06/2021 | Sterility indicator failure | Low | CAPA opened, in-process inspection added | Closed - No Action
INC-1090 | RAD-120-2 | Radiant Nail System | 16/01/2021 | Labeling discrepancy | Medium | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1091 | RAD-120-2 | Radiant Nail System | 24/11/2026 | Surface finish nonconformance | Medium | No corrective action required, isolated event | Closed - Replaced Unit
INC-1092 | RAD-120-2 | Radiant Nail System | 13/02/2024 | Sterility indicator failure | High | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1093 | RAD-130-3 | Radiant Nail System | 06/09/2021 | Surface finish nonconformance | High | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1094 | RAD-130-3 | Radiant Nail System | 25/01/2021 | Labeling discrepancy | Medium | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1095 | RAD-130-3 | Radiant Nail System | 13/04/2025 | Packaging breach | Medium | Root cause traced to packaging vendor, spec updated | Closed - CAPA Issued
INC-1096 | RAD-130-3 | Radiant Nail System | 07/12/2023 | Bent on delivery | Low | No corrective action required, isolated event | Closed - No Action
INC-1097 | RAD-140-4 | Radiant Nail System | 03/02/2022 | Dimensional out of spec | Low | No corrective action required, isolated event | Closed - No Action
INC-1098 | RAD-140-4 | Radiant Nail System | 24/01/2022 | Surface finish nonconformance | Medium | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1099 | RAD-140-4 | Radiant Nail System | 05/09/2021 | Labeling discrepancy | Low | CAPA opened, in-process inspection added | Under Investigation
INC-1100 | RAD-150-5 | Radiant Nail System | 10/03/2022 | Sterility indicator failure | High | Unit replaced under warranty, no trend identified | Closed - Replaced Unit
INC-1101 | RAD-150-5 | Radiant Nail System | 09/01/2023 | Dimensional out of spec | High | Unit replaced under warranty, no trend identified | Closed - Replaced Unit
INC-1102 | RAD-150-5 | Radiant Nail System | 16/01/2025 | Labeling discrepancy | High | No corrective action required, isolated event | Under Investigation
INC-1103 | RAD-150-5 | Radiant Nail System | 14/07/2026 | Packaging breach | Medium | No corrective action required, isolated event | Closed - CAPA Issued
INC-1104 | RAD-160-6 | Radiant Nail System | 28/04/2022 | Labeling discrepancy | High | Unit replaced under warranty, no trend identified | Closed - Replaced Unit
INC-1105 | RAD-160-6 | Radiant Nail System | 18/07/2021 | Surface finish nonconformance | High | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1106 | RAD-160-6 | Radiant Nail System | 08/05/2024 | Packaging breach | Medium | Vendor notified, incoming inspection tightened | Closed - Replaced Unit
INC-1107 | RAD-160-6 | Radiant Nail System | 03/09/2023 | Sterility indicator failure | Low | Vendor notified, incoming inspection tightened | Under Investigation
INC-1108 | RAD-160-6 | Radiant Nail System | 22/10/2024 | Dimensional out of spec | Low | Vendor notified, incoming inspection tightened | Closed - CAPA Issued
INC-1109 | RAD-170-7 | Radiant Nail System | 07/06/2024 | Labeling discrepancy | Low | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1110 | RAD-170-7 | Radiant Nail System | 04/12/2026 | Surface finish nonconformance | Low | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1111 | RAD-170-7 | Radiant Nail System | 08/09/2024 | Labeling discrepancy | Medium | No corrective action required, isolated event | Closed - Replaced Unit
INC-1112 | RAD-180-8 | Radiant Nail System | 09/06/2023 | Dimensional out of spec | Medium | No corrective action required, isolated event | Closed - No Action
INC-1113 | RAD-180-8 | Radiant Nail System | 16/06/2026 | Packaging breach | Medium | Root cause traced to packaging vendor, spec updated | Closed - Replaced Unit
INC-1114 | RAD-180-8 | Radiant Nail System | 19/04/2021 | Sterility indicator failure | Low | Vendor notified, incoming inspection tightened | Under Investigation
INC-1115 | RAD-180-8 | Radiant Nail System | 19/10/2025 | Sterility indicator failure | Medium | Root cause traced to packaging vendor, spec updated | Closed - CAPA Issued
INC-1116 | CVD-110-1 | Corvid Fragment System | 08/07/2023 | Dimensional out of spec | Low | No corrective action required, isolated event | Under Investigation
INC-1117 | CVD-110-1 | Corvid Fragment System | 25/08/2023 | Sterility indicator failure | High | No corrective action required, isolated event | Closed - Replaced Unit
INC-1118 | CVD-110-1 | Corvid Fragment System | 24/06/2022 | Packaging breach | Low | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1119 | CVD-120-2 | Corvid Fragment System | 21/01/2025 | Dimensional out of spec | Low | Vendor notified, incoming inspection tightened | Closed - No Action
INC-1120 | CVD-120-2 | Corvid Fragment System | 14/03/2021 | Sterility indicator failure | Low | Vendor notified, incoming inspection tightened | Closed - CAPA Issued
INC-1121 | CVD-120-2 | Corvid Fragment System | 07/09/2021 | Surface finish nonconformance | Medium | Vendor notified, incoming inspection tightened | Closed - Replaced Unit
INC-1122 | CVD-130-3 | Corvid Fragment System | 01/09/2021 | Dimensional out of spec | Medium | Vendor notified, incoming inspection tightened | Closed - No Action
INC-1123 | CVD-130-3 | Corvid Fragment System | 24/05/2025 | Dimensional out of spec | Medium | Vendor notified, incoming inspection tightened | Closed - Replaced Unit
INC-1124 | CVD-130-3 | Corvid Fragment System | 04/02/2022 | Dimensional out of spec | Low | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1125 | CVD-130-3 | Corvid Fragment System | 17/05/2025 | Labeling discrepancy | Medium | No corrective action required, isolated event | Closed - No Action
INC-1126 | CVD-130-3 | Corvid Fragment System | 13/08/2023 | Dimensional out of spec | Low | Unit replaced under warranty, no trend identified | Under Investigation
INC-1127 | CVD-140-4 | Corvid Fragment System | 28/11/2026 | Bent on delivery | Low | No corrective action required, isolated event | Closed - Replaced Unit
INC-1128 | CVD-140-4 | Corvid Fragment System | 18/08/2024 | Bent on delivery | High | Vendor notified, incoming inspection tightened | Closed - CAPA Issued
INC-1129 | CVD-150-5 | Corvid Fragment System | 28/07/2024 | Sterility indicator failure | Medium | CAPA opened, in-process inspection added | Closed - No Action
INC-1130 | CVD-150-5 | Corvid Fragment System | 02/04/2025 | Packaging breach | High | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1131 | CVD-160-6 | Corvid Fragment System | 03/11/2021 | Labeling discrepancy | High | CAPA opened, in-process inspection added | Closed - No Action
INC-1132 | CVD-160-6 | Corvid Fragment System | 28/06/2022 | Bent on delivery | Low | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1133 | CVD-160-6 | Corvid Fragment System | 27/07/2026 | Bent on delivery | Medium | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1134 | CVD-160-6 | Corvid Fragment System | 27/07/2025 | Sterility indicator failure | High | Root cause traced to packaging vendor, spec updated | Closed - Replaced Unit
INC-1135 | CVD-170-7 | Corvid Fragment System | 24/02/2026 | Dimensional out of spec | High | Root cause traced to packaging vendor, spec updated | Closed - No Action
INC-1136 | CVD-170-7 | Corvid Fragment System | 14/04/2021 | Bent on delivery | Medium | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1137 | CVD-170-7 | Corvid Fragment System | 01/11/2023 | Labeling discrepancy | Medium | No corrective action required, isolated event | Closed - CAPA Issued
INC-1138 | CVD-180-8 | Corvid Fragment System | 13/07/2025 | Packaging breach | High | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1139 | CVD-180-8 | Corvid Fragment System | 25/10/2021 | Labeling discrepancy | Low | Vendor notified, incoming inspection tightened | Closed - No Action
INC-1140 | CVD-180-8 | Corvid Fragment System | 05/07/2023 | Sterility indicator failure | High | Unit replaced under warranty, no trend identified | Closed - Replaced Unit
INC-1141 | CVD-180-8 | Corvid Fragment System | 12/02/2023 | Bent on delivery | Low | Root cause traced to packaging vendor, spec updated | Closed - Replaced Unit

## RIL - Trellis
Trellis Forearm System
Incident ID | Catalog # | Date Reported | Incident Type | Severity | Corrective Action | Status
INC-1001 | TRL-110-1 | 06/08/2023 | Sterility indicator failure | Medium | Root cause traced to packaging vendor, spec updated | Under Investigation
INC-1002 | TRL-110-1 | 24/07/2021 | Bent on delivery | Medium | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1003 | TRL-110-1 | 10/06/2025 | Bent on delivery | Low | Root cause traced to packaging vendor, spec updated | Under Investigation
INC-1004 | TRL-110-1 | 15/10/2023 | Sterility indicator failure | Medium | Unit replaced under warranty, no trend identified | Closed - Replaced Unit
INC-1005 | TRL-110-1 | 15/01/2023 | Sterility indicator failure | Medium | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1006 | TRL-120-2 | 26/01/2026 | Bent on delivery | High | No corrective action required, isolated event | Under Investigation
INC-1007 | TRL-120-2 | 26/12/2025 | Sterility indicator failure | Low | Vendor notified, incoming inspection tightened | Closed - CAPA Issued
INC-1008 | TRL-120-2 | 22/08/2025 | Bent on delivery | Low | Vendor notified, incoming inspection tightened | Closed - CAPA Issued
INC-1009 | TRL-120-2 | 12/06/2026 | Surface finish nonconformance | High | Vendor notified, incoming inspection tightened | Closed - CAPA Issued
INC-1010 | TRL-130-3 | 12/08/2023 | Bent on delivery | High | Unit replaced under warranty, no trend identified | Under Investigation
INC-1011 | TRL-130-3 | 11/11/2024 | Labeling discrepancy | Low | Vendor notified, incoming inspection tightened | Closed - No Action
INC-1012 | TRL-130-3 | 06/08/2026 | Dimensional out of spec | Medium | CAPA opened, in-process inspection added | Closed - No Action
INC-1013 | TRL-130-3 | 25/05/2023 | Sterility indicator failure | Medium | Unit replaced under warranty, no trend identified | Under Investigation
INC-1014 | TRL-130-3 | 16/04/2026 | Bent on delivery | Low | Vendor notified, incoming inspection tightened | Closed - Replaced Unit
INC-1015 | TRL-140-4 | 15/02/2026 | Sterility indicator failure | Medium | Root cause traced to packaging vendor, spec updated | Closed - No Action
INC-1016 | TRL-140-4 | 18/05/2025 | Labeling discrepancy | Low | Unit replaced under warranty, no trend identified | Under Investigation
INC-1017 | TRL-140-4 | 08/02/2025 | Packaging breach | Low | Unit replaced under warranty, no trend identified | Closed - Replaced Unit
INC-1018 | TRL-150-5 | 18/10/2023 | Labeling discrepancy | Medium | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1019 | TRL-150-5 | 03/02/2025 | Labeling discrepancy | Medium | No corrective action required, isolated event | Closed - Replaced Unit
INC-1020 | TRL-160-6 | 03/03/2025 | Labeling discrepancy | High | Vendor notified, incoming inspection tightened | Closed - Replaced Unit
INC-1021 | TRL-160-6 | 22/09/2024 | Labeling discrepancy | Low | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1022 | TRL-160-6 | 14/09/2022 | Bent on delivery | Low | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1023 | TRL-160-6 | 06/03/2023 | Labeling discrepancy | High | Unit replaced under warranty, no trend identified | Under Investigation
INC-1024 | TRL-160-6 | 10/02/2025 | Labeling discrepancy | Low | CAPA opened, in-process inspection added | Under Investigation
INC-1025 | TRL-170-7 | 10/10/2026 | Dimensional out of spec | Low | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1026 | TRL-170-7 | 19/03/2025 | Packaging breach | High | CAPA opened, in-process inspection added | Under Investigation
INC-1027 | TRL-170-7 | 02/01/2025 | Bent on delivery | Low | CAPA opened, in-process inspection added | Under Investigation
INC-1028 | TRL-180-8 | 14/10/2025 | Sterility indicator failure | Low | No corrective action required, isolated event | Under Investigation
INC-1029 | TRL-180-8 | 10/08/2026 | Packaging breach | High | No corrective action required, isolated event | Under Investigation
INC-1030 | TRL-180-8 | 03/12/2024 | Bent on delivery | Low | No corrective action required, isolated event | Closed - Replaced Unit

## RIL - Voltix
Voltix Plating System
Incident ID | Catalog # | Date Reported | Incident Type | Severity | Corrective Action | Status
INC-1031 | VLX-110-1 | 07/06/2024 | Dimensional out of spec | Low | Root cause traced to packaging vendor, spec updated | Under Investigation
INC-1032 | VLX-110-1 | 28/06/2026 | Surface finish nonconformance | Low | Root cause traced to packaging vendor, spec updated | Closed - No Action
INC-1033 | VLX-110-1 | 08/08/2023 | Bent on delivery | Medium | No corrective action required, isolated event | Closed - CAPA Issued
INC-1034 | VLX-110-1 | 04/01/2022 | Labeling discrepancy | Medium | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1035 | VLX-110-1 | 28/03/2022 | Labeling discrepancy | High | Root cause traced to packaging vendor, spec updated | Closed - CAPA Issued
INC-1036 | VLX-120-2 | 17/08/2024 | Surface finish nonconformance | Medium | No corrective action required, isolated event | Closed - No Action
INC-1037 | VLX-120-2 | 13/09/2021 | Surface finish nonconformance | Low | Unit replaced under warranty, no trend identified | Under Investigation
INC-1038 | VLX-120-2 | 02/05/2021 | Surface finish nonconformance | High | No corrective action required, isolated event | Under Investigation
INC-1039 | VLX-130-3 | 14/03/2021 | Labeling discrepancy | High | Root cause traced to packaging vendor, spec updated | Closed - Replaced Unit
INC-1040 | VLX-130-3 | 02/07/2023 | Bent on delivery | High | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1041 | VLX-140-4 | 10/02/2025 | Surface finish nonconformance | High | No corrective action required, isolated event | Under Investigation
INC-1042 | VLX-140-4 | 22/10/2025 | Bent on delivery | Low | Vendor notified, incoming inspection tightened | Closed - Replaced Unit
INC-1043 | VLX-140-4 | 26/06/2023 | Dimensional out of spec | Medium | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1044 | VLX-140-4 | 17/07/2025 | Dimensional out of spec | Low | Vendor notified, incoming inspection tightened | Closed - No Action
INC-1045 | VLX-150-5 | 11/08/2026 | Dimensional out of spec | Medium | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1046 | VLX-150-5 | 20/06/2023 | Packaging breach | Medium | CAPA opened, in-process inspection added | Under Investigation
INC-1047 | VLX-150-5 | 11/09/2025 | Dimensional out of spec | High | No corrective action required, isolated event | Under Investigation
INC-1048 | VLX-160-6 | 12/06/2021 | Sterility indicator failure | Low | No corrective action required, isolated event | Under Investigation
INC-1049 | VLX-160-6 | 28/12/2026 | Sterility indicator failure | Low | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1050 | VLX-160-6 | 21/10/2023 | Dimensional out of spec | Low | Vendor notified, incoming inspection tightened | Closed - Replaced Unit
INC-1051 | VLX-160-6 | 17/11/2022 | Sterility indicator failure | High | No corrective action required, isolated event | Closed - CAPA Issued
INC-1052 | VLX-160-6 | 08/01/2026 | Dimensional out of spec | High | Vendor notified, incoming inspection tightened | Closed - CAPA Issued
INC-1053 | VLX-170-7 | 11/07/2024 | Packaging breach | Medium | Unit replaced under warranty, no trend identified | Closed - Replaced Unit
INC-1054 | VLX-170-7 | 25/10/2025 | Surface finish nonconformance | High | Vendor notified, incoming inspection tightened | Closed - CAPA Issued
INC-1055 | VLX-180-8 | 11/11/2025 | Surface finish nonconformance | High | No corrective action required, isolated event | Under Investigation
INC-1056 | VLX-180-8 | 15/09/2022 | Labeling discrepancy | High | Root cause traced to packaging vendor, spec updated | Under Investigation
INC-1057 | VLX-180-8 | 16/04/2025 | Packaging breach | Medium | CAPA opened, in-process inspection added | Under Investigation

## RIL - Anchorix
Anchorix Suture System
Incident ID | Catalog # | Date Reported | Incident Type | Severity | Corrective Action | Status
INC-1058 | ANX-110-1 | 25/05/2023 | Sterility indicator failure | Low | No corrective action required, isolated event | Under Investigation
INC-1059 | ANX-110-1 | 12/09/2024 | Sterility indicator failure | Medium | Root cause traced to packaging vendor, spec updated | Closed - No Action
INC-1060 | ANX-110-1 | 22/09/2025 | Surface finish nonconformance | Medium | Root cause traced to packaging vendor, spec updated | Closed - CAPA Issued
INC-1061 | ANX-120-2 | 10/12/2021 | Bent on delivery | Medium | No corrective action required, isolated event | Under Investigation
INC-1062 | ANX-120-2 | 16/04/2026 | Packaging breach | High | Root cause traced to packaging vendor, spec updated | Under Investigation
INC-1063 | ANX-120-2 | 04/10/2022 | Sterility indicator failure | High | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1064 | ANX-120-2 | 22/09/2021 | Packaging breach | High | Unit replaced under warranty, no trend identified | Closed - No Action
INC-1065 | ANX-130-3 | 11/12/2024 | Surface finish nonconformance | Low | Unit replaced under warranty, no trend identified | Closed - No Action
INC-1066 | ANX-130-3 | 06/07/2025 | Sterility indicator failure | Medium | No corrective action required, isolated event | Closed - CAPA Issued
INC-1067 | ANX-140-4 | 10/11/2023 | Bent on delivery | Low | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1068 | ANX-140-4 | 24/12/2025 | Bent on delivery | Low | No corrective action required, isolated event | Closed - CAPA Issued
INC-1069 | ANX-140-4 | 27/07/2021 | Surface finish nonconformance | Low | Root cause traced to packaging vendor, spec updated | Closed - No Action
INC-1070 | ANX-140-4 | 10/10/2021 | Dimensional out of spec | Low | Root cause traced to packaging vendor, spec updated | Under Investigation
INC-1071 | ANX-150-5 | 18/09/2026 | Surface finish nonconformance | Low | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1072 | ANX-150-5 | 07/02/2023 | Labeling discrepancy | Low | No corrective action required, isolated event | Under Investigation
INC-1073 | ANX-150-5 | 06/01/2026 | Sterility indicator failure | Medium | Root cause traced to packaging vendor, spec updated | Closed - CAPA Issued
INC-1074 | ANX-150-5 | 20/11/2022 | Surface finish nonconformance | Medium | CAPA opened, in-process inspection added | Under Investigation
INC-1075 | ANX-150-5 | 13/11/2021 | Bent on delivery | Low | Unit replaced under warranty, no trend identified | Closed - Replaced Unit
INC-1076 | ANX-160-6 | 01/05/2022 | Surface finish nonconformance | Low | No corrective action required, isolated event | Under Investigation
INC-1077 | ANX-160-6 | 10/10/2023 | Sterility indicator failure | High | Vendor notified, incoming inspection tightened | Under Investigation
INC-1078 | ANX-160-6 | 12/12/2026 | Packaging breach | Low | Vendor notified, incoming inspection tightened | Closed - Replaced Unit
INC-1079 | ANX-160-6 | 06/07/2023 | Sterility indicator failure | High | Root cause traced to packaging vendor, spec updated | Closed - No Action
INC-1080 | ANX-170-7 | 20/04/2023 | Packaging breach | Low | No corrective action required, isolated event | Closed - CAPA Issued
INC-1081 | ANX-170-7 | 24/10/2024 | Labeling discrepancy | Medium | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1082 | ANX-170-7 | 26/11/2025 | Packaging breach | Low | CAPA opened, in-process inspection added | Closed - No Action
INC-1083 | ANX-170-7 | 15/09/2025 | Sterility indicator failure | Medium | Vendor notified, incoming inspection tightened | Closed - No Action
INC-1084 | ANX-180-8 | 17/04/2025 | Dimensional out of spec | High | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1085 | ANX-180-8 | 28/09/2023 | Surface finish nonconformance | Low | Unit replaced under warranty, no trend identified | Closed - Replaced Unit

## RIL - Radiant
Radiant Nail System
Incident ID | Catalog # | Date Reported | Incident Type | Severity | Corrective Action | Status
INC-1086 | RAD-110-1 | 15/01/2025 | Surface finish nonconformance | Low | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1087 | RAD-110-1 | 19/01/2024 | Dimensional out of spec | Medium | Root cause traced to packaging vendor, spec updated | Closed - No Action
INC-1088 | RAD-120-2 | 27/01/2023 | Sterility indicator failure | Low | CAPA opened, in-process inspection added | Closed - No Action
INC-1089 | RAD-120-2 | 14/06/2021 | Sterility indicator failure | Low | CAPA opened, in-process inspection added | Closed - No Action
INC-1090 | RAD-120-2 | 16/01/2021 | Labeling discrepancy | Medium | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1091 | RAD-120-2 | 24/11/2026 | Surface finish nonconformance | Medium | No corrective action required, isolated event | Closed - Replaced Unit
INC-1092 | RAD-120-2 | 13/02/2024 | Sterility indicator failure | High | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1093 | RAD-130-3 | 06/09/2021 | Surface finish nonconformance | High | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1094 | RAD-130-3 | 25/01/2021 | Labeling discrepancy | Medium | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1095 | RAD-130-3 | 13/04/2025 | Packaging breach | Medium | Root cause traced to packaging vendor, spec updated | Closed - CAPA Issued
INC-1096 | RAD-130-3 | 07/12/2023 | Bent on delivery | Low | No corrective action required, isolated event | Closed - No Action
INC-1097 | RAD-140-4 | 03/02/2022 | Dimensional out of spec | Low | No corrective action required, isolated event | Closed - No Action
INC-1098 | RAD-140-4 | 24/01/2022 | Surface finish nonconformance | Medium | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1099 | RAD-140-4 | 05/09/2021 | Labeling discrepancy | Low | CAPA opened, in-process inspection added | Under Investigation
INC-1100 | RAD-150-5 | 10/03/2022 | Sterility indicator failure | High | Unit replaced under warranty, no trend identified | Closed - Replaced Unit
INC-1101 | RAD-150-5 | 09/01/2023 | Dimensional out of spec | High | Unit replaced under warranty, no trend identified | Closed - Replaced Unit
INC-1102 | RAD-150-5 | 16/01/2025 | Labeling discrepancy | High | No corrective action required, isolated event | Under Investigation
INC-1103 | RAD-150-5 | 14/07/2026 | Packaging breach | Medium | No corrective action required, isolated event | Closed - CAPA Issued
INC-1104 | RAD-160-6 | 28/04/2022 | Labeling discrepancy | High | Unit replaced under warranty, no trend identified | Closed - Replaced Unit
INC-1105 | RAD-160-6 | 18/07/2021 | Surface finish nonconformance | High | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1106 | RAD-160-6 | 08/05/2024 | Packaging breach | Medium | Vendor notified, incoming inspection tightened | Closed - Replaced Unit
INC-1107 | RAD-160-6 | 03/09/2023 | Sterility indicator failure | Low | Vendor notified, incoming inspection tightened | Under Investigation
INC-1108 | RAD-160-6 | 22/10/2024 | Dimensional out of spec | Low | Vendor notified, incoming inspection tightened | Closed - CAPA Issued
INC-1109 | RAD-170-7 | 07/06/2024 | Labeling discrepancy | Low | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1110 | RAD-170-7 | 04/12/2026 | Surface finish nonconformance | Low | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1111 | RAD-170-7 | 08/09/2024 | Labeling discrepancy | Medium | No corrective action required, isolated event | Closed - Replaced Unit
INC-1112 | RAD-180-8 | 09/06/2023 | Dimensional out of spec | Medium | No corrective action required, isolated event | Closed - No Action
INC-1113 | RAD-180-8 | 16/06/2026 | Packaging breach | Medium | Root cause traced to packaging vendor, spec updated | Closed - Replaced Unit
INC-1114 | RAD-180-8 | 19/04/2021 | Sterility indicator failure | Low | Vendor notified, incoming inspection tightened | Under Investigation
INC-1115 | RAD-180-8 | 19/10/2025 | Sterility indicator failure | Medium | Root cause traced to packaging vendor, spec updated | Closed - CAPA Issued

## RIL - Corvid
Corvid Fragment System
Incident ID | Catalog # | Date Reported | Incident Type | Severity | Corrective Action | Status
INC-1116 | CVD-110-1 | 08/07/2023 | Dimensional out of spec | Low | No corrective action required, isolated event | Under Investigation
INC-1117 | CVD-110-1 | 25/08/2023 | Sterility indicator failure | High | No corrective action required, isolated event | Closed - Replaced Unit
INC-1118 | CVD-110-1 | 24/06/2022 | Packaging breach | Low | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1119 | CVD-120-2 | 21/01/2025 | Dimensional out of spec | Low | Vendor notified, incoming inspection tightened | Closed - No Action
INC-1120 | CVD-120-2 | 14/03/2021 | Sterility indicator failure | Low | Vendor notified, incoming inspection tightened | Closed - CAPA Issued
INC-1121 | CVD-120-2 | 07/09/2021 | Surface finish nonconformance | Medium | Vendor notified, incoming inspection tightened | Closed - Replaced Unit
INC-1122 | CVD-130-3 | 01/09/2021 | Dimensional out of spec | Medium | Vendor notified, incoming inspection tightened | Closed - No Action
INC-1123 | CVD-130-3 | 24/05/2025 | Dimensional out of spec | Medium | Vendor notified, incoming inspection tightened | Closed - Replaced Unit
INC-1124 | CVD-130-3 | 04/02/2022 | Dimensional out of spec | Low | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1125 | CVD-130-3 | 17/05/2025 | Labeling discrepancy | Medium | No corrective action required, isolated event | Closed - No Action
INC-1126 | CVD-130-3 | 13/08/2023 | Dimensional out of spec | Low | Unit replaced under warranty, no trend identified | Under Investigation
INC-1127 | CVD-140-4 | 28/11/2026 | Bent on delivery | Low | No corrective action required, isolated event | Closed - Replaced Unit
INC-1128 | CVD-140-4 | 18/08/2024 | Bent on delivery | High | Vendor notified, incoming inspection tightened | Closed - CAPA Issued
INC-1129 | CVD-150-5 | 28/07/2024 | Sterility indicator failure | Medium | CAPA opened, in-process inspection added | Closed - No Action
INC-1130 | CVD-150-5 | 02/04/2025 | Packaging breach | High | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1131 | CVD-160-6 | 03/11/2021 | Labeling discrepancy | High | CAPA opened, in-process inspection added | Closed - No Action
INC-1132 | CVD-160-6 | 28/06/2022 | Bent on delivery | Low | CAPA opened, in-process inspection added | Closed - CAPA Issued
INC-1133 | CVD-160-6 | 27/07/2026 | Bent on delivery | Medium | Unit replaced under warranty, no trend identified | Closed - CAPA Issued
INC-1134 | CVD-160-6 | 27/07/2025 | Sterility indicator failure | High | Root cause traced to packaging vendor, spec updated | Closed - Replaced Unit
INC-1135 | CVD-170-7 | 24/02/2026 | Dimensional out of spec | High | Root cause traced to packaging vendor, spec updated | Closed - No Action
INC-1136 | CVD-170-7 | 14/04/2021 | Bent on delivery | Medium | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1137 | CVD-170-7 | 01/11/2023 | Labeling discrepancy | Medium | No corrective action required, isolated event | Closed - CAPA Issued
INC-1138 | CVD-180-8 | 13/07/2025 | Packaging breach | High | CAPA opened, in-process inspection added | Closed - Replaced Unit
INC-1139 | CVD-180-8 | 25/10/2021 | Labeling discrepancy | Low | Vendor notified, incoming inspection tightened | Closed - No Action
INC-1140 | CVD-180-8 | 05/07/2023 | Sterility indicator failure | High | Unit replaced under warranty, no trend identified | Closed - Replaced Unit
INC-1141 | CVD-180-8 | 12/02/2023 | Bent on delivery | Low | Root cause traced to packaging vendor, spec updated | Closed - Replaced Unit

## Maintenance Procedure
Maintenance Procedure
Adding a new Country:
1. Add the country name to the dropdown list on the Home sheet (data validation source).
2. Add one row per existing Catalog # to Country Registrations, filled in with that
country's registration class, rule, name, number, and dates.
3. No changes are needed on Master Catalog, PBS, or any RIL sheet — those are
country-independent.
Adding a new System:
1. Add the system name to the dropdown list on the Home sheet.
2. Add its catalog items to Master Catalog, tagging each with the System name and a
sequential 'System Seq' number (1, 2, 3, ...) — the Key column builds itself from those.
3. Add a column for the new system on PBS and mark which catalog items belong to it.
4. Add a matching row per catalog item, per existing country, to Country Registrations.
5. Duplicate an existing 'RIL - <System>' tab, rename it, and clear the incident rows —
it will already be wired to accept new incident entries.
6. Log incidents for the new system in both Master RIL and its own RIL tab as they occur.
Adding a new Catalog Item to an existing System:
1. Add a row to Master Catalog with the next System Seq number for that system.
2. Add a row to Country Registrations for each country already tracked.
3. Mark it on PBS under its system's column.
This structure is what lets one workbook stand in for N countries x M systems of
spreadsheets: every sheet keys off Catalog # and/or Country, so growth in either
dimension is additive rather than requiring a new file.

## Field Mapping
Field Mapping
Add a row here for every label the source text can contain, for every document type.
The parser is generic: it does not know about any document type until you tell it here.
Document Type | Source Label (as it appears in extracted text) | Destination Sheet | Destination Column
Catalog Spec Sheet | Catalog Number | Master Catalog | B
Catalog Spec Sheet | Description | Master Catalog | C
Catalog Spec Sheet | UDI | Master Catalog | D
Catalog Spec Sheet | Drawing Number | Master Catalog | E
Catalog Spec Sheet | Material | Master Catalog | G
Registration Certificate | Catalog Number | Country Registrations | A
Registration Certificate | Country | Country Registrations | B
Registration Certificate | Registration Number | Country Registrations | F
Registration Certificate | Approval Date | Country Registrations | G
Registration Certificate | Expiration Date | Country Registrations | H
Incident Report | Catalog Number | Master RIL | B
Incident Report | Date Reported | Master RIL | D
Incident Report | Incident Type | Master RIL | E
Incident Report | Severity | Master RIL | F
Incident Report | Corrective Action | Master RIL | G

## Paste & Parse
Paste & Parse
Paste text copied out of a PDF or a text-extraction tool below. The macro (see VBA add-on) reads it, splits each 'Label: Value' line, looks the label up in Field Mapping, and stages it for insertion into the right sheet and column.
Document Type: | Catalog Spec Sheet
Paste raw extracted text here (one 'Label: Value' pair per line):
Catalog Number: TRL-110-1 Description: Screw, 2.4mm x 24mm, Trellis family UDI: 00812345678 Drawing Number: DRW-55210-01 Material: Ti 6Al-4V ELI [example — replace with text pasted from your own PDF/extractor output]
Run: Alt+F8 -> ParseAndFill (stages rows below) -> review -> Alt+F8 -> InsertParsedRow (writes them in).
Field | Value | Destination Sheet | Destination Cell | Status
Catalog Number | TRL-110-1 | Master Catalog | B17 | Ready to insert
Description | Screw, 2.4mm x 24mm, Trellis family | Master Catalog | C17 | Ready to insert
UDI | 00812345678 | Master Catalog | D17 | Ready to insert
Drawing Number | DRW-55210-01 | Master Catalog | E17 | Ready to insert
Material | Ti 6Al-4V ELI | Master Catalog | G17 | Ready to insert
(Example of what the preview table looks like after running ParseAndFill in Excel with the VBA add-on loaded — illustrative only; this .xlsx has no macros attached, so the table above is a static example, not live output.)